	COMMUNITY HEALTH CENTRE, PADMAPUR

	HOSPITAL ADMINISTRATION MANUAL



[image: image1.jpg]\ \ -
\ "
SN AN ‘
\ole PR
e . WS RAN
y . e\
— 7



[image: image2.png]


STANDARD OPERATING PROCEDURES

FOR
HOSPITAL SECURITY & SAFETY MANAGEMENT
[image: image3.jpg]S\ON

WEALT,
a4,

N

OZ1yn

T e




COMMUNITY HEALTH CENTRE, PADMAPUR

KENDUJHAR, ODISHA

Email Id:padmapur.bpmu@gmail.com
1.0 Purpose:

     To implement the Physical and Infrastructure Security activities
2.0 Scope:

This covers all infrastructure and services provided by hospitals such as: 

· Infrastructure  & hospital property 

· Control & flow of visitors 

· Safety of Patients ( in as well as out patient)

· Safety from all infiltrators.

3.0        Reference:

Quality Management System Manual, MNL: QSM: 01, Section 7.1 

4.0  flow chart:              











5.0 Standard Procedures

	S. No.
	Activity
	Responsibility
	Related Document 

	 5.1
	Security Management
	
	

	5.1.0
	Security service is to be out sourced in CHC,Ghatgaon
	
	

	5.1.1
	Duty hours of the Security Guards are eight hours and guards are on duty for three shifts.

· Morning Shift: 8 AM to 2 PM

· Afternoon Shift: 2 PM to 6 AM

· Night Shift: 6 PM to 8 AM.

	Security Incharge
	Attendance register of Security Guards

	5.1.2

	. The areas to be covered by the security guards posted in each post are under.

· OPD and Emergency Area.
· Main Gates

· Administrative Block

· Labour ward

· Wards
	
	

	5.1.3
	Security guards are authorized to restrict unauthorized entry of patients and relatives in the restricted areas hospital. 
	NA
	

	5.1.4
	All Security breach Incidents are reported by the security guards to MOIC. The BPM/ Security In charge files a Security Incidents Report. Each such report is analyzed and counter signed by the.MO I/C
	NA
	NA 

	5.2
	Fire Safety and Its controls:
	
	

	5.2.1
	Training for fire safety and prevention is given to all staffs.
	BPM
	

	5.2.2
	Fire extinguishers are placed at different marked points throughout the hospital.
	
	

	5.2.3
	Checking and testing of Fire extinguishers refilling is maintained. 
	Pharmacist
	

	5.3
	Biological Hazards:

The hospital has identified primary causes for biological hazards which are:

· Infectious sharp objects

· Blood and body fluid spills

· Bio medical waste

· Hospital Acquired Infection

Biological hazards are managed and prevented as per standard procedures for Hospital Infection Controls
	Hospital Infection Control Committee
	SOP for Hospital Infection Control

	5.4
	Radiation Hazards:

The hospital identifies the importance of prevention of radiation hazard for its employees and patients. All the staff exposed to radiation is provided with TLD badges and the same are forwarded to BARC authorities for monitoring every quarter. The imaging equipments are monitored and calibrated on a regular basis to ensure prevention of excessive emission. 
	NA
	

	5.5
	CCTV Camera Installation done
	Pharmacist/BDM
	


7.0 Process Efficiency Criteria:
	Sl. No.
	Activity
	Efficiency Criteria

	1
	Checking of Fire Extinguisher
	Fire Extinguishers installed in the hospital shall be checked/ refilled on periodical basis (quarterly/ yearly) or as specified by the refilling agency.

	2
	Safety Inspection
	Hospital Safety Inspection by hospital safety committee shall be carried out on yearly basis

	3
	No. of Sentinel Events reported.
	Targeted Reduction in Sentinel events

	4
	No. of Pilferage incidents reported
	Targeted reduction in pilferage incidents.


8.0 Reference Documents:

· ISO 16069 – Safety Way Guidance System

· WHO Patients Safety Guidelines

· Hospital Disaster Management Plan

Medical Officer I/C





BPM








Sister Incharge





Security Incharge





Security Guards








